[image: image1.jpg]






March 27, 2026
Re: Burlington Municipal Waterworks 

2025 Consumer Confidence Report Data

The following is the Burlington Municipal Waterworks water quality information for the calendar year 2025.  

  



                        Highest 
              Utility

Substance


      Detected Level
        
   Range


Turbidity


          0.06 NTU
         0.01 – 0.06 NTU

Fluoride


          0.87 mg/l (1)
         0.30 – 0.97 mg/l

   
Nitrate




5.80 mg/l
         1.20 – 5.80 mg/l 


Chlorine as Free S/EP
                      3.25 mg/l
         0.00 – 3.25 mg/l


Chlorine as Total S/EP
          3.94 mg/l                    2.37 – 3.94 mg/l


Chlorine as Total Distribution          2.38 mg/l (1)
          0.31 – 3.10 mg/l

            For MRDL Calculation


Sodium
5/5/2025
          11.8 mg/l                            N/A
       
            Atrazine          7/24/2024                   0.41 ug/l                            N/A

Treatment Technique Parameters
             TOC Removal Range


               31.59% - 58.51%



(15% to 30% required)

            Total Trihalomethane (TTHM) (ppb)
Highest Detected Level                                           64.65 (1)   

Utility Range                                                      35.40 – 94.60 ug/l

            Haloacetic Acids (HAA5) (ppb)                             

Highest Detected Level                                           37.80 (1)
Utility Range                                                      26.60 – 55.50 ug/l
(1) Running Annual Average
Copper and Lead at Customer Tap   

Copper   06/2025
Maximum 90% (ppm)                                              0.0181 ppm
Utility Samples (ppm)                                           0.0026 –0.0950 ppm
Lead       06/2025
Maximum 90% (ppb)                                                    1.0 ppb
Utility Samples (ppb)                                                ND – 14.3 ppb
PFAS Information

In 2025 our water system exceeded an EPA drinking water lifetime interim health advisory for PFAS compounds shown below. Public notice was previously provided for these contaminates when we became aware of the situation. Please refer to the past notification for more information regarding these results.
PFAS Compound
	

	

	           


PFOA                     2025                       4.1 ppt              ND – 4.1 ppt
PFOS                      2025                       No Detects              

Unregulated Contaminant Monitoring Rule (UCMR5)
Date of Sampling: 2025 
                    Highest Detected Level                      Utility Range
Lithium                 14 ug/l                                          12 – 14 ug/l
Yttrium                 96.0 ug/l                                    92.1 – 96 ug/l
PFBA                    0.017 ug/l                              0.0094 – 0.017 ug/l 

PFPeA                  0.0057 ug/l                               ND – 0.0057 ug/l                     
If you have any questions or require any further information, please call (319) 752-7611. Email: gregoryk@burlingtoniowa.org
Sincerely,

Ken Gregory

Plant Manager
Burlington Municipal Waterworks

319-752-7611
500 North Third ● P.O. Box 786 ● Burlington, Iowa ● (319)754-6501


